CORRIGENDUM  TO  E-TENDER 03/2018/03 DUE ON 12/11/2018

FOR  DENTAL  MATERIAL RATE CONTRACT AFTER PRE-BID MEETING.

e-Tenders Portal: www.etenders.hry.nic.in, Institute website: www.uhsr.ac.in

REVISED LIST OF ITEMS WITH SPECIFICATION

| S.No | Technical specification | Tentative quantity for one year |
| --- | --- | --- |
| 1 | Cu Niti wires rectangular US FDA Approved or European CE certified from the Notified Body pkt of 10 wires | 50 pkt |
| 2 | Glass lonomer silver reinforced powder 25-30 gm with liquid US FDA Approved or European CE certified from the Notified Body | 350 pkt |
| 3 | Glass lonomer Luting cement powder 30-35 gm with liquid US FDA Approved or European CE certified from the Notified Body | 217 pkt |
| 4 | Glass lonomer restorative cement powder 10-15 gm with liquid US FDA Approved or European CE certified from the Notified Body | 450 pkt . |
| 5 | Light cure composite resin-packable US FDA Approved or European CE certified from the Notified Body 3-4 gm syringe | 335 pkt |
| 6 | Root canal files K- 45-80, 21mm pkt of six US FDA Approved or European CE certified from the Notified Body | 600 pkt. |
| 7 | Root canal files K- 15, 21 mm pkt of six US FDA Approved or European CE certified from the Notified Body | 600 pkt |
| 8 | Root canal files K- 20 (21 mm) pkt of six USFDA Approved or European CE certified from the Notified Body | 600 pkt |
| 9 | Root canal files H- 15, 21 mm pkt of six USFDA Approved or European CE certified from the Notified Body | 575 pkt |
| 10 | Root canal files H- 20 (21 mm) pkt of six USFDA Approved or European CE certified from the Notified Body | 575pkt |
| 11 | Root canal files H 15-40, 25 mm pkt of six USFDA Approved or European CE certified from the Notified Body | 575pkt |
| 12 | Root canal files H- 45-80, 21 mm pkt of six USFDA Approved or European CE certified from the Notified Body | 562 pkt |
| 13 | Sterilization rolls for packing Instrument 10cmx200mtrs USFDA Approved or European CE certified from the Notified Body | 155 pkt. |
| 14 | Sterilization rolls for packing Instrument 15cmx200mtrs USFDA Approved or European CE certified from the Notified Body | 175 pkt |
| 15 | Friction grip diamond burs(different shapes) USFDA Approved or European CE certified from the Notified Body | 5500 pkt. |
| 16 | Friction grip carbide burs for cutting (different shapes) USFDA Approved or European CE certified from the Notified Body | 1600 pkt. |
| 17 | Collagen membrane-sterile bioresorbable GTR collagen membrane USFDA Approved or European CE certified from the Notified Body pkt of 20x25 mm | 75 pkt. |
| 18 | Rotary NiTi files with shaping and finishing files pack of 3-6 USFDA Approved or European CE certified from the Notified Body | 560 pkt. |
| 19 | Lentulo Spiral filler pkt of 4 USFDA Approved or European CE certified from the Notified Body | 370 pkt. |
| 20 | Occlusal X-ray films (57x76 mm) Pkt of 25 films) USFDA Approved or European CE certified from the Notified Body | 84 pkt. |
| 21 | Cu Niti wires Round USFDA Approved or European CE certified from the Notified Body pkt of 10 wires | 50 pkt. |
| 22 | Heat cure acrylic powder USFDA Approved or European CE certified from the Notified Body jar of 3 KG | 42 jar |
| 23 | Heat cure acrylic Liquid USFDA Approved or European CE certified from the Notified Body cane of 4ltr. | 30 cane |
| 24 | Self polymerizing acrylic powder USFDA Approved or European CE certified from the Notified Body jar of 3 kg. | 110 pkt/jar |
| 25 | Self polymerizing acrylic liquid USFDA Approved or European CE certified from the Notified Body cane of 4 ltr. | 110 pkt/jar |
| 26 | Dental stone USFDA Approved or European CE certified from the Notified Body pack of 3 kg. | 800 pkt. |
| 27 | Alginate impression material USFDA Approved or European CE certified from the Notified Body pkt of 450 -500 gm | 1200 pkt. |
| 28 | Green stick impression compound USFDA Approved or European CE certified from the Notified Body | 1050 pkt. |
| 29 | Impression compound USFDA Approved or European CE certified from the Notified Body pkt of 5 cakes | 1050 pkt. |
| 30 | Zinc oxide eugenol impression paste USFDA Approved or European CE certified from the Notified Body pkt of 125+85 gm | 1050 pkt. |
| 31 | Acrylic teeth cross linked teeth set of 28 teeth USFDA Approved or European CE certified from the Notified Body set of 28 teeth | 3100 pkt. /set |
| 32 | Plaster of Paris for dental USFDA Approved or European CE certified from the Notified Body Pkt of 3 kg. | 1000 pkt. |
| 33 | Nickel Chromium alloy USFDA Approved or European CE certified from the Notified Body pack of 1 kg. | 24 pkt. |
| 34 | Chrome Cobalt alloy USFDA Approved or European CE certified from the Notified Body pack of 1 kg. | 20 pkt. |
| 35 | Preadjusted Edgewise Stainless Steel Brackets Kit Containing Upper & Lower 2nd Premolar To 2nd Premolar Bondable Brackets With Upper Triple And Lower Double Weldable Buccal Tubes, With Roth And MBT Prescription And 0.022”And 0.018” Slot USFDA Approved or European CE certified from the Notified Body | 1000 pkt. |
| 36 | Ni ti preformed orthodontic wire round -014 inch dimension USFDA Approved or European CE certified from the Notified Body, (pkt of 10 to 25 wire) | 100 pkt. |
| 37 | Ni ti preformed orthodontic wire round -016 inch dimension USFDA Approved or European CE certified from the Notified Body (pkt of 10 to 25 wire) | 100 pkt. |
| 38 | Ni ti preformed orthodontic wire round -018 inch dimension USFDA Approved or European CE certified from the Notified Body (pkt of 10 to 25 wire) | 75 pkt. |
| 39 | Ni Ti preformed orthodontic wire rectangular -016x022,dimension USFDA Approved or European CE certified from the Notified Body (pkt of 10 to 25 wire) | 100 pkt. |
| 40 | Ni Ti preformed orthodontic wire rectangular -017x025, dimension USFDA Approved or European CE certified from the Notified Body (pkt of 10 to 25 wire) | 100 pkt. |
| 41 | Ni Ti preformed orthodontic wire rectangular 019x025 dimension (pkt of 10 to 25 wire ) USFDA Approved or European CE certified from the Notified Body | 100 pkt. |
| 42 | Stainless steel preformed orthodontic wire round 016 inch USFDA Approved or European CE certified from the Notified Body (pkt of 10 to 25 wire) | 100 pkt. |
| 43 | Stainless steel preformed orthodontic wire round 018,inch USFDA Approved or European CE certified from the Notified Body (pkt of 10 to 25 wire | 100 pkt. |
| 44 | Stainless steel preformed orthodontic wire round 020,inch USFDA Approved or European CE certified from the Notified Body (pkt of 10 to 25 wire ) | 100 pkt. |
| 45 | Stainless steel preformed orthodontic wire rectangular016x022, USFDA Approved or European CE certified from the Notified Body (pkt of 10 to 25 wire ) | 100 pkt. |
| 46 | Stainless steel preformed orthodontic wire rectangular 017x025,USFDA Approved or European CE certified from the Notified Body (pkt of 10 to 25 wire ) | 100 pkt. |
| 47 | Stainless steel preformed orthodontic wire rectangular,019x025 USFDA Approved or European CE certified from the Notified Body (pkt of 10 to 25 WIRE) | 100 pkt. |
| 48 | Light Cure Bonding Material USFDA Approved or European CE certified from the Notified Body Kit containing adhesive 4-8 gm with corresponding primer, | 100 pkt./kit |
| 49 | Elastic E Chains ,Continuous type USFDA Approved or European CE certified from the Notified Body pkt of 10-25 ft. | 100 pkt. |
| 50 | Preformed Molar bands without buccal tubes USFDA Approved or European CE certified from the Notified Body per piece | 2000 pkt. |
| 51 | Bioplast sheets proprietary item 3 mm thickness USFDA Approved or European CE certified from the Notified Body pkt of 10 | 500 pkt. |
| 52 | TMA wire lengths rectangular - 017x025 dimension USFDA Approved or European CE certified from the Notified Body pkt of 10 wire | 80 pkt. |
| 53 | TMA wire lengths rectangular - 019x025 dimension USFDA Approved or European CE certified from the Notified Body pkt of 10 wire | 80 pkt. |
| 54 | TMA Wires Preformed Rectangular-017x025,dimension USFDA Approved or European CE certified from the Notified Body pkt of 10 | 80 pkt. |
| 55 | TMA Wires Preformed Rectangular-019x025 dimension USFDA Approved or European CE certified from the Notified Body pkt of 10 | 80pkt. |
| 56 | Orthodontic Micro Implants } 6mm, USFDA Approved or European CE certified from the Notified Body per piece | 100 pkt. |
| 57 | Orthodontic Micro Implants }7mm , USFDA Approved or European CE certified from the Notified Body per piece | 100 pkt. |
| 58 | Orthodontic Micro Implants } 8mm , per piece USFDA Approved or European CE certified from the Notified Body | 100 pkt. |
| 59 | Orthodontic Micro Implants }, 10mm USFDA Approved or European CE certified from the Notified Body per piece | 100 pkt. |
| 60 | Loose Preadjusted Edgewise MBT bracket 022 slot USFDA Approved or European CE certified from the Notified Body per bracket | 2500 bracket |
| 61 | Bondable Buccal Tubes Upper and Lower Right and Left 2 Molars ) USFDA Approved or European CE certified from the Notified Body pkt of four | 250 bracket |
| 62 | Niti Closed Coil Springs With Hooklets USFDA Approved or European CE certified from the Notified Body pkt of 10 | 100 pkt. |
| 63 | Silver alloy non gamma-2 lathe cut alloy 30 gm vial USFDA Approved or European CE certified from the Notified Body | 434 vial |
| 64 | Mercury pure triple distilled 225gm vial USFDA Approved or European CE certified from the Notified Body | 135 pkt. |
| 65 | Eugenol 110 ml USFDA Approved or European CE certified from the Notified Body | 150 pkt. |
| 66 | Zinc Oxide powder110 gram USFDA Approved or European CE certified from the Notified Body | 75 pkt. |
| 67 | Pit & fissure sealant light cure , low viscosity, fluoride releasing USFDA Approved or European CE certified from the Notified Body syringe of 1-2 gm | 100 pkt. |
| 68 | Calcium hydroxide two paste System USFDA Approved or European CE certified from the Notified Body | 132 pkt. |
| 69 | Cavity Varnish USFDA Approved or European CE certified from the Notified Body | 260 pkt. |
| 70 | Zinc Phosphate cement 30-100 gm with corresponding liquid USFDA Approved or European CE certified from the Notified Body | 310 pkt. |
| 71 | Hybrid Composite resin for anteriors 3-4 gram USFDA Approved or European CE certified from the Notified Body | 250 pkt. |
| 72 | NaOCI 5.25% Solution USFDA Approved or European CE certified from the Notified Body | 612 pkt. |
| 73 | Topical fluoride APF gel 1.25% ISI/ISO/CE marked pack of 450 to 500ml USFDA Approved or European CE certified from the Notified Body | 24 pkt. |
| 74 | Root canal file K 15-40, 21 mm pkt of six USFDA Approved or European CE certified from the Notified Body | 950 pkt. |
| 75 | Root canal file K 15-40, 25 mm pkt of six USFDA Approved or European CE certified from the Notified Body | 600 pkt. |
| 76 | Root canal file K 45-80, 25 mm pkt of six USFDA Approved or European CE certified from the Notified Body | 575 pkt. |
| 77 | Root canal files K- No. 6 (21 mm) pkt of six USFDA Approved or European CE certified from the Notified Body | 555 pkt. |
| 78 | Root canal files K- No. 6, ( 25 mm) pkt of six USFDA Approved or European CE certified from the Notified Body | 116 pkt. |
| 79 | Root canal files K- No. 8,(21 mm) pkt of six USFDA Approved or European CE certified from the Notified Body | 500 pkt. |
| 80 | Root canal files K- No.8, 25 mm) pkt of six USFDA Approved or European CE certified from the Notified Body | 116 pkt. |
| 81 | Root canal files K- No. 10 (21 mm) pkt of six USFDA Approved or European CE certified from the Notified Body | 516 pkt. |
| 82 | Root canal files K- No. 10, 25 mm) pkt of six USFDA Approved or European CE certified from the Notified Body | 116 pkt. |
| 83 | Root canal files H- 15-40 (21 mm) pkt of six USFDA Approved or European CE certified from the Notified Body | 550 pkt. |
| 84 | Root canal files H- 45-80 25 mm) pkt of six USFDA Approved or European CE certified from the Notified Body | 500 pkt. |
| 85 | Root canal spreader 15-40, 21 mm pkt of six USFDA Approved or European CE certified from the Notified Body | 600 pkt. |
| 86 | Root canal spreader 15-40, 25 mm pkt of six USFDA Approved or European CE certified from the Notified Body | 170 pkt. |
| 87 | 2% taper Gutta percha point No. 20, USFDA Approved or European CE certified from the Notified Body Pkt of 120 pcs. | 710 pkt. |
| 88 | 2% taperGutta percha point no. 25, USFDA Approved or European CE certified from the Notified Body Pkt of 120 pcs. | 710 pkt. |
| 89 | 2% taper Gutta percha point no. 30, USFDA Approved or European CE certified from the Notified Body Pkt of 120 pcs. | 660 pkt. |
| 90 | 2% taperGutta percha point no. 15-40, USFDA Approved or European CE certified from the Notified Body Pkt of 120 pcs. | 1050 pkt. |
| 91 | 2% taper Gutta percha point no. 45-80, USFDA Approved or European CE certified from the Notified Body Pkt of 120 pcs. | 650 pkt. |
| 92 | 2% taper Absorbent Point no. 15-40 USFDA Approved or European CE certified from the Notified Body pkt of 200 | 720 pkt. |
| 93 | 2% taperAbsorbent Point no. 45-80 USFDA Approved or European CE certified from the Notified Body pkt of 200 | 720 pkt. |
| 94 | Arch bar Length 1ft USFDA Approved or European CE certified from the Notified Body Pkt of 1 ft | 600 pkt. |
| 95 | Stainless steel wire 26G. soft USFDA Approved or European CE certified from the Notified Body | 800 pkt. |
| 96 | Fiber-reinforced splinting material- bondable reinforced ribbon fiber-approx. 2mm width USFDA Approved or European CE certified from the Notified Body | 90 pkt. |
| 97 | Air rotor cartridges(NSK) Super torque USFDA Approved or European CE certified from the Notified Body | 90 pkt. |
| 98 | Air rotor cartridges(NSK) Standard head USFDA Approved or European CE certified from the Notified Body | 115 pkt. |
| 99 | Composite Finishing Kit with 12 to 24 finishing points of different shapes USFDA Approved or European CE certified from the Notified Body | 122 pkt. |
| 100 | Composite Finishing Kit - Disc type with 180 t0 240 dics of different grits ,mandrel USFDA Approved or European CE certified from the Notified Body | 60 pkt. |
| 101 | Gates Glidden Drill No.1, pkt of 6 USFDA Approved or European CE certified from the Notified Body | 312 pkt. |
| 102 | Gates Glidden Drill No.2 pkt of 6 USFDA Approved or European CE certified from the Notified Body | 260 pkt. |
| 103 | Gates Glidden Drill No.3 pkt of 6 USFDA Approved or European CE certified from the Notified Body | 210 pkt. |
| 104 | IOPA film size 30/31 mm x 40/41mm (packet of 150 films ) USFDA Approved or European CE certified from the Notified Body E speed | 380 pkt. |
| 105 | Fixer & developer solution set (manual) to make 13.5 Lt solution each of fixer and developer USFDA Approved or European CE certified from the Notified Body | 24 pkt. |
| 106 | Air rotor spray USFDA Approved or European CE certified from the Notified Body | 282 pkt. |
| 107 | Small Cotton rolls for isolation length 30-40mm, Dia 8-10mm pack of 1000 rolls USFDA Approved or European CE certified from the Notified Body | 650 pkt. |
| 108 | Porcelain repair kit USFDA Approved or European CE certified from the Notified Body | 20 pkt. |
| 109 | RPD major connector wax USFDA Approved or European CE certified from the Notified Body | 200 pkt. |
| 110 | RPD minor connector wax USFDA Approved or European CE certified from the Notified Body | 200 pkt. |
| 111 | RPD Dineet retainer wax USFDA Approved or European CE certified from the Notified Body | 200 pkt. |
| 112 | RPD Rest seat wax USFDA Approved or European CE certified from the Notified Body | 200 pkt. |
| 113 | RPD Mesh work wax USFDA Approved or European CE certified from the Notified Body | 200 pkt. |
| 114 | Acrylic carbide bur USFDA Approved or European CE certified from the Notified Body | 200 pkt. |
| 115 | Provisional Restorative Material USFDA Approved or European CE certified from the Notified Body | 18 pkt. |
| 116 | Die Stone Class IV USFDA Approved or European CE certified from the Notified Body | 250 pkt. |
| 117 | Nitryl gloves USFDA Approved or European CE certified from the Notified Body | 250 pkt. |

ALL  OTHER TERMS & CONDITION OF e-TENDER   REMAINS SAME.

Sr. Professor I/c Purchase